## Warehouse
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 20 | 12 | 360 | 0.2 | 120 | 7:00 | 10:00 | 14:00 | 17:00 | - | - | 0.2 | no | wd | 420 | 600 | 840 | 1020
Indoor Tube | 130 | 30 | 360 | 0.2 | 120 | 7:00 | 10:00 | 14:00 | 17:00 | - | - | 0.2 | no | wd | 420 | 600 | 840 | 1020
Outdoor Bulb | 10 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 0
Phone Charger | 8 | 5 | 300 | 0.2 | 10 | 8:00 | 12:00 | 14:00 | 17:00 | - | - | 0.35 | no | wd | 480 | 720 | 840 | 1020
PC | 2 | 100 | 540 | 0.2 | 360 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | wd | 480 | 1020
Laptop | 3 | 65 | 240 | 0.2 | 120 | 8:00 | 16:30 | - | - | - | - | 0.2 | no | wd | 480 | 990
Printer | 1 | 40 | 30 | 0.2 | 1 | 10:00 | 12:00 | 14:00 | 17:00 | - | - | 0.35 | no | wd | 600 | 720 | 840 | 1020
Photocopy | 1 | 400 | 30 | 0.2 | 1 | 10:00 | 12:00 | 14:00 | 17:00 | - | - | 0.35 | no | wd | 600 | 720 | 840 | 1020
Radio | 1 | 5 | 90 | 0.2 | 60 | 12:00 | 14:00 | - | - | - | - | 0.1 | no | wd | 720 | 840
Router | 2 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 0
Pump | 1 | 750 | 120 | 0.1 | 30 | 6:00 | 17:00 | - | - | - | - | 0.1 | no | wd | 360 | 1020
Electric forklift | 2 | 750 | 180 | 0.2 | 20 | 6:00 | 8:00 | 14:00 | 16:00 | - | - | 0.2 | no | wd | 360 | 480 | 840 | 960
Fan | 3 | 63 | 400 | 0.1 | 30 | 10:00 | 15:00 | - | - | - | - | 0.4 | 0.7 | wd | 600 | 900
AC | 1 | 4000 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Storage facility
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Tubes | 50 | 30 | 300 | 0.2 | 240 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | no | 480 | 1020
Outdoor Bulb | 10 | 40 | 720 | 0 | 720 | 18:00 | 0:00 | 0:00 | 6:00 | - | - | 0 | no | no | 1080 | 0 | 0 | 360
IT services | 1 | 270 | 1440 | 0 | 720 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 0
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 0
Industrial fan | 5 | 120 | 480 | 0.1 | 60 | 9:00 | 18:00 | - | - | - | - | 0.1 | 0.9 | no | 540 | 1080
Phones | 3 | 7 | 300 | 0.2 | 60 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | no | 480 | 1020
AC | 1 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Powerhouse
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Tubes | 100 | 30 | 300 | 0.2 | 120 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | no | 480 | 1020
Outdoor Bulb | 25 | 40 | 720 | 0 | 720 | 18:00 | 0:00 | 0:00 | 6:00 | - | - | 0 | no | no | 1080 | 0 | 0 | 360
IT services | 2 | 270 | 1440 | 0 | 420 | 0:00 | 0:00 | - | - | - | - | 0.2 | no | no | 0 | 0
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 0
Industrial fan | 5 | 120 | 480 | 0 | 60 | 9:00 | 18:00 | - | - | - | - | 0.1 | 0.9 | no | 540 | 1080
Phone | 3 | 7 | 60 | 0.2 | 10 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | no | 480 | 1020
AC | 1 | 4000 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Cold storage
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 15 | 12 | 540 | 0.2 | 400 | 4:00 | 22:00 | - | - | - | - | 0.35 | no | no | 240 | 1320
Indoor Tubes | 45 | 30 | 540 | 0.2 | 400 | 4:00 | 22:00 | - | - | - | - | 0.35 | no | no | 240 | 1320
Outdoor Bulb | 10 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 0
Phone | 5 | 7 | 150 | 0.2 | 30 | 7:00 | 17:00 | - | - | - | - | 0 | no | no | 420 | 1020
Cold room | 5 | 750 | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle
AC | 1 | 4000 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Fish processing
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 25 | 12 | 540 | 0.2 | 400 | 6:00 | 17:30 | - | - | - | - | 0.35 | no | wd | 360 | 1050 |  |  | ok
Indoor Tubes | 80 | 30 | 540 | 0.2 | 400 | 6:00 | 17:30 | - | - | - | - | 0.35 | no | wd | 360 | 1050 |  |  | ok
Outdoor Bulb | 25 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 7 | 7 | 150 | 0.2 | 30 | 6:00 | 17:00 | - | - | - | - | 0 | no | wd | 360 | 1020 |  |  | ok
Conveyor belt | 30 | 60 | 400 | 0.1 | 240 | 6:00 | 13:00 | - | - | - | - | 0.1 | 0.9 | wd | 360 | 780 |  |  | ok
Packaging machinery | 2 | 500 | 240 | 0.1 | 30 | 6:30 | 13:30 | - | - | - | - | 0.1 | 0.9 | wd | 390 | 810 |  |  | ok
Electric forklift | 2 | 750 | 180 | 0.2 | 45 | 6:00 | 13:00 | 15:00 | 17:30 | - | - | 0.1 | 0.9 | wd | 360 | 780 | 900 | 1050 | ok
Phone Charger | 10 | 5 | 240 | 0.2 | 10 | 8:00 | 12:00 | 14:00 | 17:00 | - | - | 0.35 | no | wd | 480 | 720 | 840 | 1020 | ok
Industrial fan | 3 | 120 | 380 | 0.1 | 60 | 9:00 | 15:30 | - | - | - | - | 0.1 | 0.8 | wd | 540 | 930 |  |  | ok
Cold room | 2 | 750 | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | assume same as cs storage
Blast chiller | 1 | 2000 | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle
AC | 2 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Supermarket
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 25 | 12 | 420 | 0.2 | 120 | 7:30 | 17:00 | - | - | - | - | 0.2 | no | wd |  | 450 | 1020 |  |  |  | ok
Indoor Tube | 200 | 30 | 420 | 0.2 | 120 | 7:30 | 17:00 | - | - | - | - | 0.2 | no | wd |  | 450 | 1020 |  |  |  | ok
Outdoor Bulb | 23 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  | ok
Phone Charger | 3 | 5 | 240 | 0.2 | 10 | 8:00 | 14:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 840 |  |  |  | ok
Phone | 2 | 7 | 60 | 0.2 | 10 | 7:30 | 15:30 | - | - | - | - | 0.1 | no | wd |  | 450 | 930
PC | 1 | 100 | 480 | 0.2 | 360 | 8:00 | 17:00 | - | - | - | - | 0.2 | no | wd |  | 480 | 1020 |  |  |  | ok
Vending machine | 2 | 350 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  | modellare tipo NREL | #VALUE!
Radio | 1 | 5 | 90 | 0.2 | 60 | 9:00 | 14:00 | - | - | - | - | 0.1 | no | wd |  | 540 | 840 |  |  |  | ok
Printer | 1 | 40 | 30 | 0.2 | 1 | 8:00 | 14:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 840 |  |  |  | ok
Photocopy | 1 | 400 | 30 | 0.2 | 1 | 8:00 | 14:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 840 |  |  |  | ok
Speaker system | 1 | 300 | 60 | 0.2 | 10 | 8:00 | 16:00 | - | - | - | - | 0.1 | no | wd |  | 480 | 960 |  |  |  | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  |  | ok
Fan | 7 | 63 | 240 | 0.1 | 30 | 10:00 | 15:00 | - | - | - | - | 0.4 | 0.7 | wd |  | 600 | 900 |  |  |  | ok
Cash desk | 2 | 300 | 180 | 0.35 | 45 | 8:00 | 15:30 | - | - | - | - | 0.1 | no | wd |  | 480 | 930 |  |  |  | ok
Refrigerated cabinet | 5 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  | copio da fridge MLED
Freezer | 2 | 280 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  | copio da freezer MLED
Product scanner | 4 | 10 | 240 | 0.1 | 10 | 8:00 | 14:00 | - | - | - | - | 0.3 | no | wd |  | 480 | 840
AC | 3 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd |  | 570 | 990

## Canteen
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 8 | 12 | 560 | 0.2 | 120 | 8:30 | 15:30 | 18:30 | 21:30 | - | - | 0.1 | no | wd |  | 510 | 930 | 1110 | 1290 |  | ok
Indoor Tube | 70 | 30 | 560 | 0.2 | 120 | 8:30 | 15:30 | 18:30 | 21:30 | - | - | 0.1 | no | wd |  | 510 | 930 | 1110 | 1290 |  | ok
Outdoor Bulb | 10 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  | ok
Phone Charger | 8 | 5 | 240 | 0.2 | 10 | 9:00 | 14:00 | 19:00 | 21:00 | - | - | 0.35 | no | wd |  | 540 | 840 | 1140 | 1260 |  | ok
Vending machine | 1 | 350 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  | modellare tipo NREL | #VALUE!
Radio | 1 | 5 | 180 | 0.1 | 120 | 11:00 | 14:30 | 18:30 | 21:30 | - | - | 0.2 | 0.9 | wd |  | 660 | 870 | 1110 | 1290 |  | ok
Speaker system | 1 | 230 | 180 | 0.1 | 120 | 11:00 | 14:30 | 18:30 | 21:30 | - | - | 0.1 | 0.9 | wd |  | 660 | 870 | 1110 | 1290 |  | ok
Fan | 5 | 80 | 240 | 0.35 | 30 | 10:00 | 15:00 | - | - | - | - | 0.2 | 0.7 | wd |  | 600 | 900 |  |  |  | ok
Cash desk | 1 | 300 | 180 | 0.2 | 45 | 12:30 | 15:30 | 19:00 | 21:30 | - | - | 0.1 | no | wd |  | 750 | 930 | 1140 | 1290 |  | ok
Fridge | 2 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | [5 empty] | copio da fridge MLED
Freezer | 1 | 280 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | [5 empty] | copio da freezer MLED
Oven | 2 | 3000 | 240 | 0.1 | 60 | 8:30 | 11:30 | 18:00 | 20:30 | - | - | 0.1 | 0.8 | wd |  | 510 | 690 | 1080 | 1230 |  | ok | avoid modelling the oven as in RAMP input3 (different cycles for different meals)
Kettle | 3 | 2500 | 180 | 0.3 | 15 | 8:30 | 12:00 | 18:00 | 20:30 | - | - | 0.1 | no | wd |  | 510 | 720 | 1080 | 1230 |  | ok
Fryer | 1 | 3000 | 120 | 0.3 | 60 | 12:00 | 13:30 | 19:00 | 20:30 | - | - | 0.2 | 0.7 | wd |  | 720 | 810 | 1140 | 1230 |  | ok
Toaster | 2 | 1200 | 90 | 0.35 | 10 | 11:30 | 13:30 | 19:00 | 20:30 | - | - | 0.3 | no | wd |  | 690 | 810 | 1140 | 1230 |  | ok
AC | 2 | 1700 | 300 | 0.15 | 60 | 9:30 | 16:30 | 18:30 | 20:30 | - | - | 0.2 | 0.8 | wd |  | 570 | 990 | 1110 | 1230 |  | ok

## Laundry
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 3 | 12 | 300 | 0.1 | 120 | 7:30 | 15:00 |  |  | - | - | 0.1 | no | wd | 450 | 900 |  |  | ok
Indoor Tube | 15 | 30 | 300 | 0.1 | 120 | 7:30 | 15:00 |  |  | - | - | 0.1 | no | wd | 450 | 900 |  |  | ok
Outdoor Bulb | 2 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone Charger | 3 | 5 | 240 | 0.2 | 10 | 8:00 | 13:00 |  |  | - | - | 0.35 | no | wd | 480 | 780 |  |  | ok
Iron | 3 | 2000 | 180 | 0.35 | 30 | 7:30 | 12:30 |  |  |  |  | 0.15 | no | wd | 450 | 750 |  |  | ok
Steamer | 2 | 1000 | 200 | 0.2 | 30 | 7:30 | 12:30 |  |  |  |  | 0.15 | no | wd | 450 | 750 |  |  | ok
Washing machine | 4 | 2000 | 330 | 0.15 | 60 | 8:00 | 14:30 |  |  | - | - | 0.2 | no | wd | 480 | 870 |  |  | ok
Stereo | 1 | 25 | 240 | 0.2 | 10 | 8:00 | 14:00 |  |  |  |  | 0.25 | no |  | 480 | 840 |  |  | ok
Phone | 1 | 7 | 60 | 0.2 | 10 | 8:30 | 13:30 | - | - | - | - | 0.2 | no | no | 510 | 810 |  |  | ok
Laptop | 1 | 100 | 120 | 0.2 | 45 | 8:00 | 14:30 | - | - | - | - | 0.35 | no | wd | 480 | 870 |  |  | ok
Fan | 1 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.2 | 0.7 | wd | 600 | 840 |  |  | ok
AC | 1 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Printing store
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 5 | 10 | 360 | 0.2 | 120 | 8:00 | 12:00 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 480 | 720 | 840 | 990 | ok
Indoor Tubes | 25 | 30 | 360 | 0.2 | 120 | 8:00 | 12:00 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 480 | 720 | 840 | 990 | ok
Outdoor Bulb | 2 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
PC | 2 | 100 | 210 | 0.1 | 60 | 8:30 | 12:00 | 14:00 | 16:00 | - | - | 0.2 | no | wd | 510 | 720 | 840 | 960 | ok
Printer | 3 | 40 | 60 | 0.2 | 1 | 8:30 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 510 | 720 | 840 | 960 | ok
Photocopy | 2 | 400 | 60 | 0.2 | 1 | 8:30 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 510 | 720 | 840 | 960 | ok
Scanner | 1 | 380 | 45 | 0.2 | 1 | 8:30 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 510 | 720 | 840 | 960 | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 1440 |  |  | ok
Phone | 2 | 7 | 60 | 0.2 | 10 | 8:30 | 16:30 | - | - | - | - | 0.1 | no | wd | 510 | 990 |  |  | ok
Phone charger | 3 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd | 540 | 960 |  |  | ok

## Pharmacy
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 15 | 12 | 300 | 0.1 | 240 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.1 | no | wd |  | 540 | 750 | 810 | 990 |  | ok
Indoor Tubes | 60 | 30 | 300 | 0.1 | 240 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.1 | no | wd |  | 540 | 750 | 810 | 990 |  | ok
Outdoor Bulb | 20 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  | ok
Sterilizer | 1 | 120 | 240 | 0.2 | 60 | 8:00 | 17:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 1020 |  |  |  | ok
Shaker | 2 | 10 | 240 | 0.2 | 120 | 8:00 | 17:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 1020 |  |  |  | ok
Medical refrigerator | 3 | 380 | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle
PC | 2 | 100 | 540 | 0.1 | 360 | 8:00 | 17:00 | - | - | - | - | 0.35 | no | wd |  | 480 | 1020 |  |  |  | ok
Telescopic lamp | 2 | 18 | 120 | 0.2 | 10 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.1 | no | wd |  | 540 | 750 | 810 | 990 |  | ok
Phone | 2 | 7 | 60 | 0.2 | 10 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.15 | no | wd |  | 540 | 750 | 810 | 990 |  | ok
Phone charger | 3 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd |  | 540 | 960 |  |  |  | ok
Security system | 1 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 |  |  |  |  | 0 |  |  |  | 0 | 1440
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  |  | ok
Vending machine | 1 | 350 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  | modellare tipo NREL
Fan | 2 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd |  | 600 | 840 |  |  |  | ok
AC | 1 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd |  | 570 | 990

## Retail shop A
Two types of retail shops (A and B): retail shop A is a smaller business activity with respect to retail shop B
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 5 | 12 | 300 | 0.3 | 240 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 840 | 990 | ok
Indoor Tubes | 15 | 30 | 300 | 0.2 | 240 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 840 | 990 | ok
Outdoor Bulb | 3 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 1 | 7 | 60 | 0.2 | 10 | 9:00 | 12:30 | 14:30 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 870 | 990 | ok
Phone charger | 2 | 5 | 120 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd | 540 | 960 |  |  | ok
Fan | 1 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd | 600 | 840 |  |  | ok

## Retail shop B
Two types of retail shops (A and B): retail shop A is a smaller business activity with respect to retail shop B
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 10 | 12 | 300 | 0.3 | 240 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 840 | 990 | ok
Indoor Tubes | 25 | 30 | 300 | 0.2 | 240 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 840 | 990 | ok
Outdoor Bulb | 5 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 2 | 7 | 60 | 0.2 | 10 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 840 | 990 | ok
Phone charger | 5 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd | 540 | 960 |  |  | ok
Fan | 3 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd | 600 | 840 |  |  | ok
Heater | 1 | 1000 | 45 | 0.3 | 10 | 9:00 | 11:30 |  |  |  |  | 0.35 | 0.5 | wd | 540 | 690 |  |  | ok
Kettle | 1 | 2500 | 60 | 0.3 | 15 | 11:00 | 13:30 | - | - | - | - | 0.1 | no | wd | 660 | 810 |  |  | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 1440 |  |  | ok
Laptop | 2 | 100 | 150 | 0.2 | 45 | 9:00 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 540 | 720 | 840 | 960 | ok
AC | 1 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Tech provider
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 8 | 12 | 300 | 0.3 | 240 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 810 | 990 | ok
Indoor Tubes | 50 | 30 | 300 | 0.2 | 240 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.1 | no | wd | 540 | 750 | 810 | 990 | ok
Outdoor Bulb | 10 | 30 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 3 | 7 | 60 | 0.2 | 10 | 9:00 | 12:30 | 13:30 | 16:30 | - | - | 0.2 | no | wd | 540 | 750 | 810 | 990 | ok
Phone charger | 5 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd | 540 | 960 |  |  | ok
PC | 2 | 100 | 300 | 0.1 | 120 | 9:00 | 16:00 | - | - | - | - | 0.1 | no | wd | 540 | 960 |  |  | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 1440 |  |  | ok
Laptop | 2 | 100 | 150 | 0.2 | 45 | 9:00 | 12:30 | 14:00 | 16:30 | - | - | 0.35 | no | wd | 540 | 750 | 840 | 990 | ok
Fan | 3 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd | 600 | 840 |  |  | ok
Test bench | 1 | 6000 | 150 | 0.4 | 15 | 9:15 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | 0.95 | wd | 555 | 750 | 840 | 990 | ok
Test desk | 3 | 250 | 360 | 0.1 | 360 | 9:00 | 16:30 |  |  |  |  | 0.1 | no | wd | 540 | 990 |  |  | ok
AC | 2 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990

## Bar
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 10 | 12 | 560 | 0.2 | 480 | 6:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | wd |  | 390 | 750 | 870 | 1080 | ok
Indoor Tube | 35 | 30 | 560 | 0.2 | 480 | 6:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | wd |  | 390 | 750 | 870 | 1080 | ok
Outdoor Bulb | 5 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 | ok
Phone Charger | 10 | 5 | 270 | 0.2 | 10 | 7:00 | 12:00 | 15:00 | 17:30 | - | - | 0.2 | no | wd |  | 420 | 720 | 900 | 1050 | ok
Router | 2 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  | ok
Radio | 1 | 5 | 240 | 0.25 | 120 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | wd |  | 450 | 750 | 870 | 1080 | ok
Speaker system | 1 | 230 | 180 | 0.25 | 120 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | wd |  | 450 | 750 | 870 | 1080 | ok
Fan | 3 | 80 | 210 | 0.35 | 30 | 10:00 | 13:30 | 14:30 | 15:30 | - | - | 0.2 | 0.8 | wd |  | 600 | 810 | 870 | 930 | ok
Fridge | 1 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  |  | copio da fridge MLED
Freezer | 1 | 280 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  |  | copio da freezer MLED
Oven | 3 | 3000 | 240 | 0.1 | 60 | 6:45 | 11:30 | - | - | - | - | 0.1 | 0.8 | wd |  | 405 | 690 |  |  | ok | avoid modelling the oven as in RAMP input3 (different cycles for different meals)
Kettle | 2 | 2500 | 240 | 0.3 | 15 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | wd |  | 450 | 750 | 870 | 1080 | ok
Toaster | 1 | 1200 | 120 | 0.35 | 10 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.3 | no | wd |  | 450 | 750 | 870 | 1080 | ok
Mixer | 2 | 250 | 60 | 0.4 | 30 | 6:45 | 10:30 | - | - | - | - | 0.35 | no | wd |  | 405 | 630 |  |  | ok
Kneading machine | 2 | 2400 | 180 | 0.1 | 90 | 6:45 | 11:30 | 15:30 | 18:00 | - | - | 0.2 | no | wd |  | 405 | 690 | 930 | 1080 | ok
Coffee machine | 1 | 3600 | 240 | 0.4 | 60 | 7:00 | 12:30 | 14:30 | 18:00 |  |  | 0.2 | no | wd |  | 420 | 750 | 870 | 1080 | ok
AC | 2 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd |  | 570 | 990

## Hotel
It's a small facility, assume around 10 bedrooms in the hotel
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 150 | 12 | 630 | 0.3 | 540 | 6:30 | 23:30 | - | - | - | - | 0.1 | no | no |  | 390 | 1410 |  |  |  |  | ok
Indoor Tube | 300 | 30 | 660 | 0.2 | 540 | 6:30 | 23:30 | - | - | - | - | 0.1 | no | no |  | 390 | 1410 |  |  |  |  | ok
Outdoor Bulb | 45 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  |  | ok
Phone Charger | 30 | 5 | 280 | 0.2 | 10 | 0:00 | 6:30 | 11:30 | 17:30 | 20:30 | 23:59 | 0.15 | no | no |  | 0 | 390 | 690 | 1050 | 1230 | 1439 | ok
Phone | 5 | 7 | 150 | 0.2 | 45 | 9:00 | 12:30 | 13:30 | 19:30 | - | - | 0.2 | no | no |  | 540 | 750 | 810 | 1170 |  |  | ok
Router | 3 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 0
PC | 2 | 100 | 540 | 0.1 | 360 | 8:00 | 17:00 | - | - | - | - | 0.35 | no | no |  | 480 | 1020 |  |  |  |  | ok
Laptop | 7 | 100 | 150 | 0.2 | 45 | 8:00 | 17:00 | 19:30 | 23:59 | - | - | 0.25 | no | no |  | 480 | 1020 | 1170 | 1439 |  |  | ok
Radio | 5 | 5 | 300 | 0.25 | 120 | 9:30 | 10:30 | 14:30 | 18:00 | 19:30 | 22:30 | 0.1 | no | no |  | 570 | 630 | 870 | 1080 | 1170 | 1350 | ok
Speaker system | 1 | 230 | 180 | 0.25 | 120 | 7:30 | 10:30 | 14:30 | 18:00 | 19:30 | 22:30 | 0.1 | no | no |  | 450 | 630 | 870 | 1080 | 1170 | 1350 | ok
Fan | 12 | 80 | 180 | 0.35 | 20 | 10:00 | 15:30 | 18:30 | 20:30 |  |  | 0.15 | 0.8 | no |  | 600 | 930 | 1110 | 1230 | 0 | 0 | ok
Fridge | 2 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | [6 empty] | copio da fridge MLED
Kettle | 3 | 2500 | 240 | 0.3 | 15 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.1 | no | no |  | 450 | 750 | 870 | 1080 |  |  | ok
Toaster | 1 | 1200 | 120 | 0.35 | 10 | 7:30 | 12:30 | 14:30 | 18:00 | - | - | 0.3 | no | no |  | 450 | 750 | 870 | 1080 |  |  | ok
Coffee machine | 1 | 3600 | 240 | 0.3 | 60 | 7:00 | 12:30 | 14:30 | 18:00 |  |  | 0.2 | no | no |  | 420 | 750 | 870 | 1080 |  |  | ok
Vacuum cleaner | 3 | 250 | 90 | 0.2 | 20 | 10:00 | 14:00 |  |  |  |  | 0.1 | no | no |  | 600 | 840 |  |  |  |  | ok
Heater | 1 | 3000 | 210 | 0.3 | 60 | 0:00 | 11:30 | 19:30 | 23:59 |  |  | 0.2 | 0.9 | no |  | 0 | 690 | 1170 | 1439 |  |  | ok
Stereo | 3 | 25 | 300 | 0.2 | 10 | 8:00 | 14:00 | 18:30 | 22:30 |  |  | 0.1 | no | no |  | 480 | 840 | 1110 | 1350 |  |  | ok
Decoder | 5 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 0
TV | 5 | 150 | 210 | 0.5 | 30 | 8:30 | 10:30 | 14:30 | 18:00 | 19:30 | 23:30 | 0.1 | no | no |  | 510 | 630 | 870 | 1080 | 1170 | 1410 | ok
Antenna | 1 | 8 | 120 | 0.1 | 5 | 8:30 | 10:30 | 14:30 | 18:00 | 19:30 | 23:30 | 0.35
Security system | 2 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 |  |  |  |  | 0 |  |  |  | 0 | 1440 |  |  |  |  | ok
Pump | 1 | 1000 | 240 | 0.25 | 90 | 6:00 | 23:59 | - | - | - | - | 0.1 | no | wd |  | 360 | 1439 |  |  |  |  | ok
AC | 10 | 800 | 300 | 0.1 | 60 | 9:30 | 16:30 | 18:30 | 20:30 | - | - | 0.2 | 0.8 | wd |  | 570 | 990 | 1110 | 1230 |  |  | ok

## Bakery
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 10 | 12 | 500 | 0.2 | 480 | 5:30 | 12:30 | 14:30 | 16:30 | - | - | 0.1 | no | wd |  | 330 | 750 | 870 | 990 | ok
Indoor Tube | 25 | 30 | 500 | 0.2 | 480 | 5:30 | 12:30 | 14:30 | 16:30 | - | - | 0.1 | no | wd |  | 330 | 750 | 870 | 990 | ok
Outdoor Bulb | 3 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 | ok
Phone Charger | 10 | 5 | 270 | 0.2 | 10 | 7:00 | 12:00 | 15:30 | 16:30 | - | - | 0.2 | no | wd |  | 420 | 720 | 930 | 990 | ok
Radio | 1 | 5 | 240 | 0.25 | 120 | 7:00 | 12:30 | 14:30 | 16:00 | - | - | 0.1 | no | wd |  | 420 | 750 | 870 | 960 | ok
Fan | 3 | 80 | 200 | 0.35 | 30 | 10:00 | 12:30 | 14:30 | 15:30 | - | - | 0.2 | 0.8 | wd |  | 600 | 750 | 870 | 930 | ok
Ventilation fan | 2 | 50 | 960 | 0 | 900 | 5:30 | 22:30 |  |  |  |  | 0.05 | no | no |  | 330 | 1350 | 0 | 0 | ok
Cold room | 1 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  |  | copio da fridge MLED
Freezer | 1 | 280 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  |  |  |  | copio da freezer MLED
Oven | 5 | 3000 | 240 | 0.1 | 60 | 6:45 | 11:30 | - | - | - | - | 0.1 | 0.95 | wd |  | 405 | 690 |  |  | ok | avoid modelling the oven as in RAMP input3 (different cycles for different meals)
Mixer | 2 | 250 | 60 | 0.4 | 30 | 6:45 | 10:30 | - | - | - | - | 0.35 | no | wd |  | 405 | 630 |  |  | ok
Leavening room | 2 | 1500 | 240 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific
Kneading machine | 4 | 2400 | 180 | 0.1 | 90 | 6:45 | 11:30 | 15:30 | 18:00 | - | - | 0.2 | no | wd |  | 405 | 690 | 930 | 1080 | ok

## Ice factory
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 15 | 12 | 400 | 0.2 | 400 | 8:30 | 12:30 | 14:30 | 17:30 | - | - | 0.2 | no | no | 510 | 750 | 870 | 1050 | ok
Indoor Tubes | 45 | 30 | 400 | 0.2 | 400 | 8:30 | 12:30 | 14:30 | 17:30 | - | - | 0.2 | no | no | 510 | 750 | 870 | 1050 | ok
Outdoor Bulb | 10 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 1 | 7 | 150 | 0.2 | 30 | 8:30 | 17:00 | - | - | - | - | 0 | no | no | 510 | 1020 |  |  | ok
Phone Charger | 5 | 5 | 120 | 0.3 | 10 | 9:00 | 12:00 | 15:30 | 16:30 | - | - | 0.2 | no | wd | 540 | 720 | 930 | 990 | ok
Freezer | 2 | 800 | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle | Specific Cycle |  |  |  |  | errore
Ice maker | 3 | 1500 | 210 | 0.1 | 90 | 8:30 | 11:30 | 15:30 | 17:30 |  |  | 0.1 | no | no | 510 | 690 | 930 | 1440 | ok
Industrial fan | 2 | 120 | 360 | 0.1 | 60 | 9:00 | 15:30 | - | - | - | - | 0.25 | 0.8 | wd | 540 | 930 |  |  | ok

## Water supply
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 5 | 12 | 300 | 0.2 | 90 | 9:30 | 12:30 | 14:30 | 17:30 | - | - | 0.35 | 0.8 | no | 570 | 750 | 870 | 1050 | ok
Indoor Tubes | 40 | 30 | 300 | 0.2 | 90 | 9:30 | 12:30 | 14:30 | 17:30 | - | - | 0.35 | 0.8 | no | 570 | 750 | 870 | 1050 | ok
Outdoor Bulb | 5 | 40 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 1 | 7 | 150 | 0.2 | 30 | 8:30 | 17:00 | - | - | - | - | 0.2 | 0.7 | no | 510 | 1020 |  |  | ok
Ventilation fan | 2 | 50 | 960 | 0 | 900 | 5:30 | 22:30 |  |  |  |  | 0 | no | no | 330 | 1350 |  |  | ok
Pump | 2 | 2000 | 360 | 0.25 | 180 | 6:00 | 23:59 | - | - | - | - | 0.1 | no | no | 360 | 1439 |  |  | ok
Backup pump | 1 | 1500 | 120 | 0.1 | 120 | 6:00 | 23:59 |  |  |  |  | 0.1 | 0.3 | no | 360 | 1439 |  |  | ok
AC | 1 | 800 | 300 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.4 | 0.8 | wd | 570 | 990 |  |  | ok

## Office
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 15 | 12 | 300 | 0.3 | 240 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Indoor Tubes | 40 | 30 | 300 | 0.2 | 240 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Outdoor Bulb | 5 | 30 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  | ok
Phone | 5 | 7 | 60 | 0.35 | 10 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.2 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Phone charger | 15 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd |  | 540 | 960 |  |  |  | ok
Kettle | 1 | 2500 | 60 | 0.3 | 15 | 11:00 | 13:30 | - | - | - | - | 0.1 | no | wd |  | 660 | 810 |  |  |  | ok
Router | 3 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  |  | ok
Laptop | 4 | 100 | 150 | 0.15 | 45 | 8:30 | 12:30 | 14:00 | 16:00 | - | - | 0.35 | no | wd |  | 510 | 750 | 840 | 960 |  | ok
Fan | 3 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd |  | 600 | 840 |  |  |  | ok
PC | 7 | 100 | 150 | 0.1 | 45 | 8:30 | 12:30 | 14:00 | 16:00 | - | - | 0.3 | no | wd |  | 510 | 750 | 840 | 960 |  | ok
Coffe machine | 1 | 1200 | 90 | 0.3 | 15 | 9:00 | 12:30 | 14:30 | 16:00 |  |  | 0.2 | no | wd |  | 540 | 750 | 870 | 960 |  | ok
Security system | 1 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 |  |  |  |  | 0 |  |  |  | 0 | 1440 |  |  |  | ok
Vending machine | 1 | 350 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  | modellare tipo NREL
Water dispenser | 1 | 500 | 1440 | 0.6 | 1440
AC | 3 | 800 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd |  | 570 | 990 |  |  |  | ok

## Bank
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 25 | 12 | 300 | 0.3 | 240 | 8:30 | 12:30 | 14:30 | 16:30 | - | - | 0.1 | no | wd | 510 | 750 | 870 | 990 | ok
Indoor Tubes | 80 | 30 | 300 | 0.2 | 240 | 8:30 | 12:30 | 14:30 | 16:30 | - | - | 0.1 | no | wd | 510 | 750 | 870 | 990 | ok
Outdoor Bulb | 15 | 30 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no | 0 | 360 | 1080 | 1440 | ok
Phone | 3 | 7 | 60 | 0.35 | 10 | 8:30 | 12:30 | 14:30 | 16:30 | - | - | 0.2 | no | wd | 510 | 750 | 870 | 990 | ok
Phone charger | 8 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd | 540 | 960 |  |  | ok
Router | 2 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no | 0 | 1440 |  |  | ok
Laptop | 3 | 100 | 150 | 0.15 | 45 | 8:30 | 12:00 | 14:30 | 16:00 | - | - | 0.35 | no | wd | 510 | 720 | 870 | 960 | ok
Fan | 4 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd | 600 | 840 |  |  | ok
PC | 5 | 100 | 150 | 0.1 | 45 | 8:30 | 12:30 | 14:00 | 16:00 | - | - | 0.3 | no | wd | 510 | 750 | 840 | 960 | ok
Coffe machine | 1 | 1200 | 90 | 0.3 | 15 | 8:45 | 12:30 | 14:30 | 16:00 |  |  | 0.2 | no | wd | 525 | 750 | 870 | 960 | ok
Security system | 3 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 |  |  |  |  | 0 |  |  | 0 | 1440 |  |  | ok
ATM | 3 | 3200 | 1440 | 0.45 | 1440 | [8 empty] | no | 0 | 1440 |  |  | ok
Printer | 4 | 40 | 30 | 0.25 | 1 | 9:00 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 540 | 720 | 840 | 960 | ok
Photocopy | 2 | 400 | 30 | 0.15 | 1 | 9:00 | 12:00 | 14:00 | 16:00 | - | - | 0.35 | no | wd | 540 | 720 | 840 | 960 | ok
Money counter | 3 | 12 | 180 | 0.35 | 60 | 9:00 | 12:30 | 15:00 | 16:00 | - | - | 0.35 | no | wd | 540 | 750 | 900 | 960 | ok
Speaker system | 1 | 230 | 180 | 0.25 | 150 | 9:00 | 12:00 | 14:30 | 16:00 | - | - | 0.1 | no | wd | 540 | 720 | 870 | 960 | ok
Water dispenser | 1 | 500 | 1440 | 0.6 | 1440
AC | 2 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd | 570 | 990 |  |  | ok

## Studio
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 10 | 12 | 300 | 0.3 | 240 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Indoor Tubes | 35 | 30 | 300 | 0.2 | 240 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.1 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Outdoor Bulb | 4 | 30 | 720 | 0 | 720 | 0:00 | 6:00 | 18:00 | 0:00 | - | - | 0 | no | no |  | 0 | 360 | 1080 | 1440 |  | ok
Phone | 3 | 7 | 60 | 0.35 | 10 | 8:30 | 12:30 | 14:00 | 16:30 | - | - | 0.2 | no | wd |  | 510 | 750 | 840 | 990 |  | ok
Phone charger | 12 | 5 | 180 | 0.2 | 10 | 9:00 | 16:00 |  |  | - | - | 0.2 | no | wd |  | 540 | 960 |  |  |  | ok
Kettle | 1 | 2500 | 60 | 0.3 | 15 | 11:00 | 13:30 | - | - | - | - | 0.1 | no | wd |  | 660 | 810 |  |  |  | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  |  | ok
Laptop | 4 | 100 | 150 | 0.15 | 45 | 8:30 | 12:30 | 14:00 | 16:00 | - | - | 0.35 | no | wd |  | 510 | 750 | 840 | 960 |  | ok
Fan | 2 | 80 | 180 | 0.35 | 30 | 10:00 | 14:00 | - | - | - | - | 0.15 | 0.7 | wd |  | 600 | 840 |  |  |  | ok
PC | 4 | 100 | 150 | 0.1 | 45 | 8:30 | 12:30 | 14:00 | 16:00 | - | - | 0.3 | no | wd |  | 510 | 750 | 840 | 960 |  | ok
Coffe machine | 1 | 1200 | 90 | 0.3 | 15 | 9:00 | 12:30 | 14:30 | 16:00 |  |  | 0.2 | no | wd |  | 540 | 750 | 870 | 960 |  | ok
Vending machine | 1 | 350 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific |  | modellare tipo NREL
AC | 2 | 1700 | 240 | 0.15 | 60 | 9:30 | 16:30 | - | - | - | - | 0.2 | 0.8 | wd |  | 570 | 990 |  |  |  | ok

## Households
LI
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 3 | 12 | 120 | 0.2 | 10 | 18:30 | 24:00 | 6:00 | 8:30 | - | - | 0.35 | no | wd |  | 1110 | 1440 | 360 | 510 |  |  | ok
Phone charger | 2 | 5 | 240 | 0.2 | 10 | 0:00 | 24:00 |  |  | - | - | 0 | no | wd |  | 0 | 1440 |  |  |  |  | ok
Radio | 1 | 10 | 60 | 0.1 | 5 | 18:30 | 22:00 | 6:00 | 8:30 | - | - | 0.35 | no | wd |  | 1110 | 1320 | 360 | 510 |  |  | ok
56
HI
| Number | Power [W] | Daily Time [min] | Time % | Min Time [min] | W1 Start | W1 End | W2 Start | W2 End | W3 Start | W3 End | Window % | Occasional Use | we/wd
Indoor Bulb | 6 | 12 | 120 | 0.2 | 10 | 18:30 | 24:00 | 6:00 | 8:30 | - | - | 0.35 | no | wd |  | 1110 | 1440 | 360 | 510 |  |  | ok
Phone charger | 3 | 5 | 240 | 0.2 | 10 | 0:00 | 24:00 |  |  | - | - | 0 | no | wd |  | 0 | 1440 |  |  |  |  | ok
Radio | 1 | 10 | 60 | 0.1 | 5 | 18:30 | 22:00 | 6:00 | 8:30 | - | - | 0.35 | no | wd |  | 1110 | 1320 | 360 | 510 |  |  | ok
Router | 1 | 6 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 1440 |  |  |  |  | ok
Fan | 2 | 80 | 180 | 0.35 | 30 | 10:00 | 16:00 | - | - | - | - | 0.15 | 0.8 | wd |  | 600 | 960 |  |  |  |  | ok
Stereo | 1 | 25 | 60 | 0.2 | 10 | 8:00 | 14:00 | 18:30 | 22:30 |  |  | 0.1 | no | no |  | 480 | 840 | 1110 | 1350 |  |  | ok
Decoder | 1 | 8 | 1440 | 0 | 1440 | 0:00 | 0:00 | - | - | - | - | 0 | no | no |  | 0 | 0
TV | 1 | 150 | 90 | 0.4 | 15 | 8:30 | 10:30 | 14:30 | 18:00 | 19:30 | 23:30 | 0.1 | no | no |  | 510 | 630 | 870 | 1080 | 1170 | 1410 | ok
Fridge | 1 | 230 | 1440 | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | specific | [6 empty] | copio da fridge MLED
AC | 1 | 1700 | 270 | 0.15 | 60 | 9:30 | 16:30 | 18:30 | 20:30 | - | - | 0.2 | 0.8 | wd |  | 570 | 990 | 1110 | 1230 |  |  | ok